## Sensor
Variables measured | Sensor (model & manufacturer) |  | Height or depth (m) |  | Frequency of Measurement
| Study site1 | Study site2 | Study site1 | Study site2 | Study site1 | Study site2
Shortwave and longwave radiations | Net radiometer (CNR1, Kipp & Zonen) | Net radiometer (CNR1, Kipp & Zonen) | 5.4 | 5.7 | 30 min | 30 min
Air temperature and relative humidity | Temperature and relative humidity probe (HMP45C, Campbell Scientific) | Temperature and relative humidity probe (HMP45C, Campbell Scientific) | 3.7 | 2.6 | 30 min | 30 min
Actual ET | Open path gas analyser (LI-7500, LI-COR), Sonic anemometer (CSAT3, Campbell Scientific) | Open path gas analyser (LI-7500, LI-COR), Sonic anemometer (CSAT3, Campbell Scientific) | 3.7 | 2.6 | 20 Hz, 30 min | 20 Hz, 30 min
Wind speed and wind direction | R. M. Young Wind sentry set (03101, Campbell Scientific) | R. M. Young Wind sentry set (03101, Campbell Scientific) | 6.6 | 2.6 | 30 min | 30 min
Thermal infrared radiation | Infrared radiometer sensor (SI-111, Apogee) | Infrared radiometer sensor (SI-111, Apogee) | 5.4 | 5.7 | 5 min | 5 min
Visible and NIR radiation | Radiation sensors (SKR-1850 and SKR-1870A, Skye instruments Ltd) | Radiation sensors (SKR-1850 and SKR-1870A, Skye instruments Ltd) | 5.4 | 5.7 | 5 min | 5 min
Soil moisture | Soil moisture probes (5) (CS615 (1), CS616 (4) Campbell Scientific) | Soil moisture probes (5) (CS616, Campbell Scientific) | 0-0.005, 0-0.3, 0.3-0.6, 0.6-0.9 and 0.9-1.2 | 0-0.005, 0-0.3, 0.3-0.6, 0.6-0.9 and 0.9-1.2 | 5 min | 30 min
Soil heat flux | Soil heat flux plates (2) (CN3 Middleton, HFP01, Hukseflux) | Soil heat flux plates (2) (CN3 Middleton, HFP01, Hukseflux) | 0.008 | 0.008 | 30 min | 30 min
Soil temperature | Temperature probes (6) (6535 (3), Unidata & T107 (3), Campbell Scientific) | Temperature probes (6) (T107, Campbell Scientific) | 0.002, 0.005, 0.1, 0.2, 0.5 and 1 | 0.002, 0.005, 0.1, 0.2, 0.5 and 0.95 | 5 min | 30 min
Barometric pressure | Barometer (CS105, Vaisala) | Barometer (CS105, Vaisala) | 2 | 1.2 | 30 min | 30 min
Rainfall | Rain gauge (TR-525I, Texas Electronics) | Rain gauge (TR-525I, Texas Electronics) | 1 | 1 | 30 min | 30 min
Photosynthtical Active radiation | Quantum Sensor (LI190, LI-COR) | NA | 2 | NA | 30 min | NA